## Area
Project | Data_availability | Country | Area | Catchment | Lake | Date | Data_file_csv | Data_file_json | Python model | Data_file_metadata | Data_file_pro | Data_file_sample | Comment
AquaInfra | Zenodo | Finland | Ocean | Vantaanjoen vesistöalue | Helsinki | 2025-09-09 | ALL_DATA_2025-09-09_03_00-2025-09-09_19_00 (1).csv |  | TIETO_I_Python_21052025.zip
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2025-08-07 | ALL_DATA_2025-08-06_09_40-2025-08-07_09_40.csv |  | TIETO_I_Python_21052025.zip
AquaInfra | Zenodo | Finland | Ocean | Vantaanjoen vesistöalue | Helsinki | 2025-06-24 | ALL_DATA_2025-06-24_10_00-2025-06-24_16_52.csv |  | TIETO_I_Python_21052025.zip
AquaInfra | Zenodo | Finland | Ocean | Vantaanjoen vesistöalue | Helsinki | 2025-05-26 | ALL_DATA_2025-05-25_12_00-2025-05-26_12_02.csv |  | TIETO_I_Python_21052025.zip
AquaInfra | Zenodo | Finland | Ocean | Helsinki |  | 2024-09-26 | ALL_DATA_2024-09-26_00_00-2024-09-26_23_30.csv | ALL_DATA_2024-09-26_00_00-2024-09-26_23_30.json |  |  |  |  | Data processing ongoing
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2024-08-10 | ALL_DATA_2023-08-10_00_00-2023-08-10_23_59.csv |  |  |  | Tuusulanjarvi_10082023.xlsx | Tuusulanjarvi_10082023.xlsx | V1 of system, header differ from V2
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2023-08-30 | ALL_DATA_2023-08-30_00_00-2023-08-30_23_30.csv |  |  |  | Tuusulanjarvi_30082023.xlsx
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2023-08-16 | ALL_DATA_2023-08-16_00_00-2023-08-16_23_59.csv |  |  |  | Tuusulanjarvi_16082023.xlsx | Tuusulanjarvi_wdata_160823.xlsx | V1 of system, header differ from V2
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2023-07-18 | Tuusulanjarvi_ALL_DATA_2023-07-18_00_20-2023-07-18_19_33.csv |  |  |  | Tuusulanjarvi_18072023.xlsx | Tuusulanjarvi_wdata_180723.xlsx | V1 of system, header differ from V2
AquaInfra | Zenodo | Finland | Lake | Vantaanjoen vesistöalue | Tuusulanjärvi | 2023-06-05 | alldata_05062023.csv |  |  |  | Tuusulanjarvi_050623.xlsx | Tuusulanjarvi_wdata_050623.xlsx

## Header
Hardware version | Hardware (date) | Software version | Header | Unit | Describtion | Sensor | Sensor type | Sensor head | Link | Comment
V1 | 2022-01-01 | V1 | Time | UTC | UCT time | DMU801 data logger |  | 0 | Data Management Unit DMU801¦ Vaisala
V1 | 2022-01-01 | V1 | CO2PRO_parser.IRGA_avg_temp | °C | CO2 dissolved, temperature inside sensor | CO2-Pro CV |  | 12 | CO2-Pro CV ¦ Submersible pCO2 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | CO2PRO_parser.co2 | ppmv | Calculated CO2 | CO2-Pro CV |  | 12 | CO2-Pro CV ¦ Submersible pCO2 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | CO2PRO_parser.gas_pres | mbar | Sensor gas stream pressure | CO2-Pro CV |  | 12 | CO2-Pro CV ¦ Submersible pCO2 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | CO2PRO_parser.hum | mbar | humidity in sensor | CO2-Pro CV |  | 12 | CO2-Pro CV ¦ Submersible pCO2 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | CO2PRO_parser.hum_temp | °C | humidity sensor temperature | CO2-Pro CV |  | 12 | CO2-Pro CV ¦ Submersible pCO2 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | EXO2_combine_data.bga | RFU | Phycocyanin (BGA-PC), relative fluorescence units | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.bga_unit |  | Units BGA-PC, RFU | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.chlorophyl1 | μg/L | Chlorophyll, EXO Total Algae Phycocyanin Digital Smart Sensor | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.chlorophyl1_unit |  | Chlorophyll, μg/L | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.chlorophyl2 | RFU | Chlorophyll, RFU, EXO Total Algae Phycocyanin Digital Smart Sensor | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.chlorophyl2_unit |  | Chlorophyll, RFU | EXO Total Algae - PC Sensor, Ti | optical | 1 | Total Algae PC Phycocyanin Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.cond | mS/cm | Water conductivity | EXO Wiped Conductivity & Temperature Sensor |  | 2 | EXO Wiped Conductivity and Temperature Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.cond_unit |  | Conductivity, μS/cm | EXO Wiped Conductivity & Temperature Sensor |  | 2 | EXO Wiped Conductivity and Temperature Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.fdom1 | RFU | FDOM value | EXO fDOM Smart Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.fdom1_unit |  | fDOM, RFU | EXO fDOM Smart Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.fdom2 | QSU | FDOM value | EXO fDOM Smart Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.fdom2_unit |  | fDOM, QSU | EXO fDOM Smart Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.nlfcond | μS/cm | nLF Conductivity, μS/cm | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.nlfcond_unit |  | nLF Conductivity, μS/cm | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo1 | % |  | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo1_unit |  | ODO, %Sat | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo2 | % |  | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo2_unit |  | ODO, %Sat Local | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo3 | mg/L |  | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.odo3_unit |  | ODO, mg/L | EXO Optical Dissolved Oxygen Smart Sensor | optical | 5 | Dissolved Oxygen Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.ph1 | mV | pH value | EXO pH Digital Smart Sensor (Unguarded) |  | 6 | pH Digital Smart Sensor (Unguarded) ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.ph1_unit |  | pH value mV | EXO pH Digital Smart Sensor (Unguarded) |  | 6 | pH Digital Smart Sensor (Unguarded) ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.ph2 | pH |  | EXO pH Digital Smart Sensor (Unguarded) |  | 6 | pH Digital Smart Sensor (Unguarded) ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.ph2_unit |  | pH | EXO pH Digital Smart Sensor (Unguarded) |  | 6 | pH Digital Smart Sensor (Unguarded) ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.pres | psia | Barometric pressure, availability depends used EXO on board | EXO2 Multiparameter Sonde |  | 0 | Multiparameter Water Quality Sonde for Unattended Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.pres_unit |  | Pressure, psia | EXO2 Multiparameter Sonde |  | 0 | Multiparameter Water Quality Sonde for Unattended Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.rhodamin | μg/L |  | EXO Rhodamine Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.rhodamin_unit |  | Rhodamine, μg/L | EXO Rhodamine Sensor | optical | 3 | Fluorescent Dissolved Organic Matter fDOM Water Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.salinity | psu | Salinity, PPT | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.salinity_unit |  | Salinity, PPT | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.speccond | μS/cm | Specific Conductance | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.speccond_unit |  | Specific Conductance, μS/cm | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.tds | mg/L |  | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.tds_unit |  | TDS, mg/L | EXO Conductivity & Temperature Smart Sensor |  | 4 | Conductivity & Temperature Smart Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.temp | °C | water temperature from incoming water to the sensors, this value differs from the KELLER value when sensor is in the water (more accurate value at the time often) | EXO Wiped Conductivity & Temperature Sensor |  | 4 | EXO Wiped Conductivity and Temperature Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.temp_unit |  |  | EXO Wiped Conductivity & Temperature Sensor |  | 4 | EXO Wiped Conductivity and Temperature Sensor ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.tss | mg/l | Total suspended solid (TSS), mg/L | Not in use, grab samples required to get correct value for the area (2 to 6 samples). |  | 4 | EXO Correlation - Total Suspended Solids | Value not in use
V1 | 2022-01-01 | V1 | EXO2_combine_data.tss_unit |  | Total suspended solid (TSS), mg/L | Not in use, grab samples required to get correct value for the area (2 to 6 samples). |  | 4 | EXO Correlation - Total Suspended Solids | Value not in use
V1 | 2022-01-01 | V1 | EXO2_combine_data.turb1 | NTU | Turbidity, NTU | EXO Turbidity Sensor, Ti |  | 7 | Turbidity Smart Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.turb1_unit |  | Turbidity, NTU | EXO Turbidity Sensor, Ti |  | 7 | Turbidity Smart Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.turb2 | FNU | Turbidity, FNU | Turbidity, FNU |  | 7 | Turbidity Smart Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.turb2_unit |  | Turbidity, FNU | Turbidity, FNU |  | 7 | Turbidity Smart Sensor for Water Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.wiper_pos | V | Wiper position (Volts), typically 1.2 when sensor is not moving. Sensor wiper is moving and when this happens value turbidity changes rapidly and can be corrected | EXO2 Multiparameter Sonde |  | 0 | Multiparameter Water Quality Sonde for Unattended Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | EXO2_combine_data.wiper_pos_unit |  | Wiper Position (V) | EXO2 Multiparameter Sonde |  | 0 | Multiparameter Water Quality Sonde for Unattended Monitoring ¦ ysi.com
V1 | 2022-01-01 | V1 | KELLER_PAA26X_modbus_rtu_parser.Pres | bar | Water pressure (bar), sensor is used only when profiling. When profiling depth is typically 1 meter or more, so value typically over 1.1 bar depending on air pressure. Sensor Keller PAA26X. | Keller PAA26x |  | 10 | Series 26X ¦ KELLER Pressure
V1 | 2022-01-01 | V1 | KELLER_PAA26X_modbus_rtu_parser.Temp | °C | Water temperature (C). Sensor is used only when profiling, so temperature should be near air temperature when on a boat. Sensor Keller PAA26x. | Keller PAA26x |  | 10 | Series 26X ¦ KELLER Pressure
V1 | 2022-01-01 | V1 | MINICH4_parser.IRGA_det_temp | °C | IRGA detector temperature (C). Sensor is a Mini CH4 from Pro-Oceanus. | Mini CH4 |  | 11 | Mini CH4 ¦ Dissolved CH4 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | MINICH4_parser.ch4_corrected | ppmv | Corrected CH4 [ppmv], data has been corrected for variance in dissolved gas pressure and this data can be used with the “Gas pressure” data column to determine the partial pressure of CH4, pCH4. if value of CH4-Pro FT is available it should be used. Sensor is a Mini CH4 from Pro-Oceanus. | Mini CH4 |  | 11 | Mini CH4 ¦ Dissolved CH4 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | MINICH4_parser.ch4_raw | ppm | Raw CH4 [ppm], The “Raw CH4” column is uncorrected for changes in gas pressure. Sensor is a Mini CH4 from Pro-Oceanus. | Mini CH4 |  | 11 | Mini CH4 ¦ Dissolved CH4 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | MINICH4_parser.gas_pres | millibar | Gas pressure [millibar]. Sensor is a Mini CH4 from Pro-Oceanus. | Mini CH4 |  | 11 | Mini CH4 ¦ Dissolved CH4 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | MINICH4_parser.pres_temp | °C | Pressure sensor temperature (C). Sensor is a Mini CH4 from Pro-Oceanus. | Mini CH4 |  | 11 | Mini CH4 ¦ Dissolved CH4 Sensor ¦ Pro-Oceanus
V1 | 2022-01-01 | V1 | PAR_parser.parDown | W/m² | Irradiance (W/m2), reflection from lake bottom. Measures photosynthetically active radiation (PAR) (400 - 700 nm) in micromol/m2/s. Value is incorrect when sensor is not under the water and Keller PAA26X sensor is not at depth of 1 m below surface. Boat may cause shadow to sensor when used. Measures photosynthetically active radiation (PAR) (400 - 700 nm) in micromol/m2/s. Sensor LI-190R. | LI-192SA Underwater quantum sensor |  | 19 | LI-192 Underwater Quantum Sensor ¦ LI-COR Environmental
V1 | 2022-01-01 | V1 | PAR_parser.parUp | W/m² | Irradiance (W/m2), from sky. Measures photosynthetically active radiation (PAR) (400 - 700 nm) in micromol/m2/s. Value is incorrect when sensor is not under the water and Keller PAA26X sensor is not at depth of 1 m below surface. Boat may cause shadow to sensor when used. Measures photosynthetically active radiation (PAR) (400 - 700 nm) in micromol/m2/s. Sensor LI-190R. | LI-192SA Underwater quantum sensor |  | 19 | LI-192 Underwater Quantum Sensor ¦ LI-COR Environmental
V2 | 2024-04-01 | V2 | PAR_parser.quantum | W/m² | Irradiance (W/m2). Measures photosynthetically active radiation (PAR) (400 - 700 nm) in micromol/m2/s. PAR value, sensor pointing to the sky, if sensor gap is on or there is a shadow values is not correct. Sensor is located at the back of the boat at 1 m above floor, so shadow from people can cause difficulties, this may occur when boat speed is below 5 km/h or when water samples are taken or profiling is carried out and Keller show water depth values or sensor gap is on. Sensor LI-190R-SMV-5 | LI-190R-SMV-5 |  | 18 | LI-190R Quantum Sensor ¦ LI-COR Environmental
V2 | 2024-04-01 | V2 | ch4_pro_parser.ch4 | ppmv | CH4 reading (ppmv) - sensor CH4-Pro FT. CH4 dissolved, value is measured typically 1s, but value is updating 1.6 s interval, sensor has delay | CH4-Pro™ FT (prototype) |  | 13 | CO2-Pro FT
V2 | 2024-04-01 | V2 | ch4_pro_parser.hum | sensor | Humidity (mbar) - sensor CH4-Pro FT | CH4-Pro™ FT (prototype) |  | 13 | CO2-Pro FT
V2 | 2024-04-01 | V2 | ch4_pro_parser.temp | Temperature | Humidity Sensor Temperature(ºC). CH4-Pro FT sensor. | CH4-Pro™ FT (prototype) |  | 13 | CO2-Pro FT
V1 | 2022-01-01 | V1 | masto_parser.GMP252_CO2 | ppm | CO2 in the air at heigth 2.5 m, sensor GMP252 | GMP252 |  | 14 | CO₂ Probe GMP252 ¦ Vaisala
V1 | 2022-01-01 | V1 | masto_parser.GMP252_TA | °C | Air temperature (C) value at heigth 2.5 m, sensor GMP252 in an radiation shield. | GMP252 |  | 14 | CO₂ Probe GMP252 ¦ Vaisala
V1 | 2022-01-01 | V1 | masto_parser.NR01_05_IR01D | W/m² | Upward longwave radiation (irradiance in W/m2) from downfacing pyrgeometer (towards water). Value is incorrect when speed of the boat (see TRIMBLE SPEED is over 10 km/h, also should be checked that sensor is outside of the boat. Typically, sensor is out when boat is started 1st time during the mission unless otherwise stated in the metadata. When boat speed is over 10 km/h sensor is not typically showing correct and sensor is above the boat’s flat aluminum surface. Pyrgeometers type IR01 from the net radiation sensor NR01 Hukseflux. | NR01 |  | 15 | Net radiometers: the #1 market leading net radiometers
V1 | 2022-01-01 | V1 | masto_parser.NR01_05_IR01U | W/m² | Downward longwave radiation (irradiance in W/m2), upfacing pyrgeometer (towards sky). Pyrgeometers type IR01 from the net radiation sensor NR01 Hukseflux. | NR01 |  | 15 | Net radiometers: the #1 market leading net radiometers
V1 | 2022-01-01 | V1 | masto_parser.NR01_05_PT100 | °C | Air temperature (C) at 2.5 m height, located in the 0 temperature sensor is included in the instrument body. Sensor NR01 net radiation Hukseflux. Value can be compared to GMP252 air temperature value. | NR01 |  | 15 | Net radiometers: the #1 market leading net radiometers
V1 | 2022-01-01 | V1 | masto_parser.NR01_05_SR1D | W/m² | Reflected solar radiation (irradiance in W/m2) reflecting from water, downfacing pyranometer. Value is incorrect when speed of the boat (see TRIMBLE SPEED is over 10 km/h, also should be checked that sensor is outside of the boat. Typically, sensor is out when boat is started 1st time during the mission unless otherwise stated in the metadata. When boat speed is over 10 km/h sensor is not typically showing correct and sensor is above the boat’s flat aluminum surface. Pyranometer type SR01 in NR01 4-component net radiometer from Hukseflux. Located on the left-hand side of the boat. | NR01 |  | 15 | Net radiometers: the #1 market leading net radiometers
V1 | 2022-01-01 | V1 | masto_parser.NR01_05_SR1U | W/m² | Global solar radiation (irradiance in W/m2), upfacing pyranometer. Value can be incorrect when solar declination is very low sun shade of the boat is between the sensor (located left side) and the boat . Pyranometer type SR01 in NR01 4-component net radiometer from Hukseflux. | NR01 |  | 15 | Net radiometers: the #1 market leading net radiometers
V2 | 2022-01-01 | V2 | masto_parser.TRIMBLE_HEADING_TRUE | deg | Direction of boat (deg), value 0 to 360 degrees. Sensor TRIMBLE BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_HEIGHT | m | Heigth of sensor (m). Sensor is 1 m above water level. Sensor TRIMBLE BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_LAT | deg | Latitude decimal degrees, WGS84. See https://applications.pgc.umn.edu/convert/. In Helsinki 60.18249208783333. Sensor TRIMBLE BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_LON | deg | Longitude decimal degrees, WGS84. See https://applications.pgc.umn.edu/convert/. Sensor TRIMBLE BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_SPEED_KN | knots | Boat speed (knots). BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_SPEED_KPH | km/h | Boat speed (km/h), boat speed typicall 0 - 30 km/h, value at higher speed may be incorrect. Sensor BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_TILT | deg | Boat tilt (deg). Boat has two trim tabs taht try to keep boat straith. Sensor BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_TMG_TRUE | deg | Heading of boat (deg). Sensor BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.TRIMBLE_YAW | deg | Yaw angle (deg). Rotation about the vertical axis. Sensor BX992. | Trimble BX992 |  | 16 | Trimble BX992 ¦ OEMGNSS
V1 | 2022-01-01 | V1 | masto_parser.WXT530_PA | hPa | Air pressure (hPa). Sensor WXT536 Vaisala. | WXT536 |  | 17 | Vaisala ¦ Weather Transmitter WXT530 Series
V1 | 2022-01-01 | V1 | masto_parser.WXT530_RH | % | Air humidity (%). Sensor WXT536 Vaisala. | WXT536 |  | 17 | Vaisala ¦ Weather Transmitter WXT530 Series
V1 | 2022-01-01 | V1 | masto_parser.WXT530_TA | °C | Air temperature (C). Sensor WXT536 Vaisala. | WXT536 |  | 17 | Vaisala ¦ Weather Transmitter WXT530 Series
V1 | 2022-01-01 | V1 | masto_parser.WXT530_WD | deg | Wind direction (deg). North is towards bow of the boat, when data is earlier than 1st Feb. 2024 the bow difference may be 180 degrees dending on trip. | WXT536 |  | 17 | Vaisala ¦ Weather Transmitter WXT530 Series
V1 | 2022-01-01 | V1 | masto_parser.WXT530_WS | m/s | Wind speed (m/s), sensor is 3 m above water surface. | WXT536 |  | 17 | Vaisala ¦ Weather Transmitter WXT530 Series
V2 | 2024-04-01 | V2 | switch_state.tag |  | 0:data is not good or measurement is not on 1: measurement ongoin either line or profile 2: water sample taken from EXO flow cell outflow |  |  | 9