## GENERAL INFORMATION
DATASET DESCRIPTION
Dataset named 'Chemistry_0-20m_Gulfs_LakeLugano_2022_2024' contains depth-integrated water chemistry parameters for the 0–20 m layer at six limnological stations located in the gulfs of Lake Lugano from 2022 to 2024. Data were collected as part of limnological research on the Lake Lugano basin by IST-SUPSI on behalf of CIPAIS (International Commission for the Protection of Italian-Swiss Waters).
MONITORING STATIONS
| Name | Basin | Coordinates WGS84 [lat/lon] |  | Max depth [m]
| Agno | South | 45.9846 | 8.9038 | 70-75
| Capolago | South | 45.9182 | 8.9735 | 65-70
| Lugano | North | 45.9969 | 8.9561 | 100-110
| Melide | South | 45.9395 | 8.9582 | 84
| Ponte Tresa | South | 45.9641 | 8.8673 | 50
| Porto Ceresio | South | 45.9093 | 8.9026 | 40-45
TIME
| Station | Measurement time period |  | Sampling frequency
|  | From | To
| All stations | 2022-01-01 | 2024-12-01 | Monthly sampling
METHODS
| Parameter | Sampling method
| All water chemistry parameters | Water samples collected with a Schröder bottle/Hydro-Bios automatic water sampler integrating continuously along the 0–20 m water column to obtain a depth-integrated sample representative of the productive layer
| Parameter | LOQ | Unit | Analytical technique |  | Measuring instrument
| Orthophosphate (as phosphorus) | 2 | μg L-1 | Ionic chromatography |  | Integrion - ThermoScientific
| Total phosphorus | 6 | μg L-1 | UV-Vis spectroscopy |  | Evolution - ThermoScientific
| Nitrite (as nitrogen) | 0.2 | μg L-1 | Ionic chromatography |  | Integrion - ThermoScientific
| Nitrate (as nitrogen) | 0.02 | mg L-1 | Ionic chromatography |  | Integrion - ThermoScientific
| Ammonium (as nitrogen) | 0.012 | mg L-1 | UV-Vis spectroscopy |  | Gallery Discrete Analyzer - ThermoScientific
| Total nitrogen | 0.15 | mg L-1 | UV-Vis spectroscopy |  | Evolution - ThermoScientific
| Silicate (as silicon) | 0.06 | mg L-1 | UV-Vis spectroscopy |  | Gallery Discrete Analyzer - ThermoScientific

## DATA INFORMATION
Below are provided information on the fields of the dataset named ‘Chemistry_0-20m_Gulfs_LakeLugano_2022_2024’
SAMPLING INFORMATION
| Variable | Description | Unit | Format / Unit
| STATION | Name of the measuring station |  | text UTF-8
| DATE | Sampling date expressed in DD.MM.YYYY |  | date
| DEPTH | Vertical depth value from the water surface. Surface value is equal to 0 metres | m | text UTF-8
WATER CHEMISTRY PARAMETERS
| Variable | Description | Unit | Format | Method
| PO4-P | Orthophosphate (as phosphorus) | μg L-1 | decimal number | Please refer to the ‘GENERAL INFORMATION’ sheet
| TP | Total phosphorus | μg L-1 | decimal number
| NO2-N | Nitrite (as nitrogen) | μg L-1 | decimal number
| NO3-N | Nitrate (as nitrogen) | mg L-1 | decimal number
| NH4-N | Ammonium (as nitrogen) | mg L-1 | decimal number
| TN | Total nitrogen | mg L-1 | decimal number
| SiO2-Si | Silicate (as silicon) | mg L-1 | decimal number